Thyroid Ultrasound - Image Scanning Protocol

- Transverse midline isthmus

- Transverse midline isthmus with AP measurement

- Transverse RIGHT lobe upper pole

- Transverse RIGHT lobe mid

- Transverse RIGHT lobe mid with width measurement

- Transverse RIGHT lobe mid with color Doppler

- Transverse RIGHT lobe lower pole

- Long RIGHT lobe lateral

- Long RIGHT lobe mid

- Long RIGHT lobe with length/AP measurements

- Long RIGHT lobe medial

- Transverse LEFT lobe upper pole

- Transverse LEFT lobe mid

- Transverse LEFT lobe mid with measurement

- Transverse LEFT lobe mid with color Doppler

- Transverse LEFT lobe lower pole

- Long LEFT lobe lateral

- Long LEFT lobe mid

- Long LEFT lobe mid with measurement

- Long LEFT lobe medial